## Slide 1: 02-10

## Slide 2: Data Exploration
I found the model could be improved
  MAE: 7,54ºC
  Bias: -7.16ºC
  Nominal load assumed PF = 1
  R assumed copper losses = all losses -> s = 0

## Slide 3: Adding PF and s
Adding PF and s into the model and computing least square errors to find the optimal values found:
  PF = 0.85
  s = -1.4
A negative value for s makes no physical sense
Thus, I concluded the factory parameters have drifted over time

## Slide 4: Fitting the whole model
I assumed that I would have to fit all variables to the data.
First I tried fitting one variable at a time to find the most relevant variables
They turned out to be:
(metric is MAE)

## Slide 5: Approaches for fitting the model
Fitting top 4
Fitting all
Correcting Bias (+7.16)
R2 is much more promising for the last model? BUG

## Slide 6: All types of models: full data

## Slide 7: All types of models: train and test

## Slide 8: Next Steps

## Slide 9: Difusion Term

## Slide 10: Explore Causality
Ethan shared his report on causality algorithms.
Explore additional variables (wind speed and relativeHumidityPercentage) to justify including them as input variables.

## Slide 11: Issues with the data
Sometimes ambient T is missing (=0.0)

## Slide 12
Outliers

## Slide 13
Model limitations (energized transformer assumption)